In the NEMA(NEC) code there is a procedure to size fuses, motor starters, and overloads knowing full load amps.  How is this done using ohms law.  Say full load amps is 2.6A which we have at work.  We looked at the NEMA code and it said do 125% times 2.6A then 125% times that , but using ohms law what is going on? To know what fuse need, overload devices, etc?  This NEMA shortcut in the end says use a 10amp  fuse, but how know multiply by 125% using ohms law?