Rachel Wilkinson

533-98-8568

CHM 206

Lab: Atomic Absorption

Purpose: To anaylsis McDonald Creek water samples from Site 3 and 4 for Cr, Co, Cu, Fe, Mn and Ni utilizing a monochromoter.

Procedure:

- Start with hit lib for library and scrool up and down to locate metal to test.

- Capillary is in DI water and press enter to confirm metal → esc.

- Align lamp by changing the slit if needed then auto align the wavelength.

- Also turn off background noise.

- Turn fuel on to 5 and air to 6.

- Auto zero then align and exit light flame.

- Turn background on and align, wait 10 seconds.

- Move capillary to HNO3.

- Auto zero.

- Move the sample and read absorbance.

- Repeat for all six metals.

Observations:

McDonald Creek Site # 4

| Compound | Absorbance Units | Slit | Suggest (nm) | Use (nm) |
| --- | --- | --- | --- | --- |
| Cr | 0.000 | 0.7 | 357.9 nm | 357.9 nm |
| Co | Error | 0.2 | 240.7 nm | 246.7 nm |
| Cu | 0.000 | 0.7 | 324.7 nm | 325.0 nm |
| Fe | 0.003 | 0.2 | 248.3 nm | 250.0 nm |
| Mn | 0.008 | 0.7 | 279.5 nm | 280.5 nm |
| Ni | 0.000 | 0.2 | 232.0 nm | 231.5 nm |

McDonald Creek Site # 3

| Compound | Absorbance Units | Slit | Suggest (nm) | Use (nm) |
| --- | --- | --- | --- | --- |
| Cr | 0.000 | 0.7 | 357.9 nm | 358 nm |
| Co | error | 0.2 | 240.7 nm | 241.7 nm |
| Cu | 0.000 | 0.7 | 324.7 nm | 325.7 nm |
| Fe | 0.000 | 0.2 | 248.3 nm | 250.0 nm |
| Mn | 0.000 | 0.7 | 279.5 nm | 279.5 nm |
| Ni | 0.000 | 0.2 | 232.0 nm | 231.5 nm |