The resistance of a resistor is to be determined by measuring the voltage drop across it when passing a given current, as shown in Figure 1.

The instrument indications are 2 mA and 12.0 V, the ammeter having a resistance of 10 Ω and the voltmeter a resistance of 10kΩ.

Calculate: (a) the resistance of the resistor as indicated by the instrument readings; (b) the correct resistance of the resistor allowing for instrument error; (c) the percentage error of the uncorrected resistance with respect to the corrected resistance.

Fig 1