A conventional activated sludge secondary plant processes 7.7 MGD of wastewater with an influent BOD into the biological units of 170 mg/l.  The total volume of the basins is 300,000 ft3 and the MLSS concentration is 2,700mg/l.

Question #1:	The aeration period in hours.

Question #2:	BOD loading in lb/1000 ft3/Day