Background: CFL Bulbs – manufactured by Global Illuminating (GI) Global Illumination North America (GINA)

An 18-watt CFL bulb provides comparable light to a 100-watt incandescent bulb (thus consuming only 18% of the energy) and lasts 10,000 hours, versus about 1,000 hours.  Of course, this kind of performance comes at a price.  The normal incandescent 100-watt bulb costs about 18 cents to manufacture and sells retail for about $1.20.  The CFL 18-watt bulb can cost up to $3-$4 to manufacture.  The retail selling price is not yet determined.  Typically, bulb prices do not vary with wattage.  The ten times life and 80% energy savings factors were thought to more than justify a substantially higher price that would more than compensate for the significantly higher manufacturing cost.

“Customer value” for one 18-watt CFL bulb, replacing 10,000 hrs of use with a 100-watt incandescent bulb (at $.14 per kwh) is $78.00, as shown below (assume the regular bulb is replaced once a year):

Annual cost for the incandescent bulb = $1.20 for the bulb + power cost (1000 hrs ( 100 watts = 100 kwh ( $.14 = $14.00) = $1.20 + $14.00 = $15.20

10 year Present Value (PV) (10%) of $15.20 = $93.40

For the 18-watt CFL bulb, 10 years of energy cost has a present value of $15.40 as shown below:

1000 hrs/yr ( 18 watts = 18 kwh ( $.14 = $2.50/yr

10 year PV (10%) of $2.50/yr = $15.40

Customer value of the CFL bulb = $93.40 - $15.40 = $78.00.  In theory, a consumer should be willing to pay up to $78.00 for the alternative CFL bulb.  In theory!

# Testing the Lighting Maintenance Contractors (LMC) Segment

The second segment that looked attractive to Carter for Dulux bulbs was Lighting Maintenance Contractors (LMCs).  This segment bought $144 million in incandescent and fluorescent bulbs in 1996 and was supplied directly by the major manufacturers  The potential market in this segment was 6 times as large as the current market for ESCOs ($144 million versus $24 million).

Farnham Lighting Service (FLS), based in Atlantic City, New Jersey, contracts with casino managers to change the many thousands of light bulbs that illuminate casino interiors, exterior signs and parking lots.  A typical job could have 12,000 to 18,000 bulbs.  For the Villagio casino in Las Vegas, the marquee billboard alone has 33,000 bulbs.

FLS charges the casino a set monthly fee based on the number of light sources.  The fee includes labor, equipment usage, and the cost of the light bulbs themselves.  Access to the light bulb can be very difficult, requiring lifts and other power equipment for changes.  This is a key factor in determining the monthly fee.  Normally, longer-life light sources (fluorescent) are chosen for the least accessible locations.

Research showed that burned-out lighting is very unattractive, keeping customers away from the casinos.  The standard practice for LMCs is to totally re-lamp whole sections at one time, known as “group re-lamping,” at 80% of the bulbs’ expected life.  This virtually eliminates burned out lights.

In order to test the new product in this segment, GINA convinced FLS to propose a conversion to CFL bulbs for one small customer, the Stardust Casino. The casino has 6,000 incandescent fixtures (50- and 100-watt) with an expected life of 1400 hours, and 2,000 25-watt fluorescent fixtures with a rated life of 8,000 hours.  The casino stays open 24 hours a day, 365 days a year.  FLS does not relamp the hotel room bulbs, which are changed as they burn out by the regular maintenance staff.  They relamp the incandescent bulbs 8 times per year (8,760 hrs ÷ 1,400 ( .8) and the fluorescent fixtures approximately 1.4 times per year (8,760 ÷ 8,000 ( .8).  With an average labor rate of $20 per hour, an average of 5 minutes to change each bulb, and equipment rental at about $300/day, the CFL story is very appealing to Farnham.

The CFL bulb offers lower power cost to the casino (18-watt bulbs vs. 100-watt, and 9-watt vs. 25- or 50-watt).  The casino would also enjoy less down-time for their 24-hour gambling operation. Sometimes bulbs could be changed without closing down the gambling, but not always.  Down-time means lost revenue from the gamblers who move to a different casino.  Once they move, players usually don’t return right away after the bulb change is complete. The Stardust Casino, which grosses $250 million a year, once estimated that lost time from light bulb changes costs about $100,000 each year in lost revenue at, probably, 75% gross margin.

The changeover requires the purchase of more expensive bulbs and a one time retrofitting of all fixtures to accommodate CFL-compatible sockets.  The lighting configuration for the Stardust Casino is as follows:

1,000 incandescent hall lights (50-watt).

The casino, with 5,000 100-watt incandescent bulbs and 2,000 25-watt fluorescent wall bulbs.

The casino and the hotel halls were lighted 24 hours a day.

The one-time retrofitting cost for light fixtures (excluding the hotel rooms) would be:

3,000 wall fixtures @ $30 each

5,000 overhead fixtures @ $35 each

The GI finance subsidiary would finance the retrofit cost to the casino on the same terms as for the ESCO project.  As with the hotel, a full loan payment each year would be charged to “rent” expense by the casino.  Assume the electrical contractor doing the retrofit project earns 40% gross margin, on average.

Power cost is $.12 per kwh in Atlantic City

FLS assigns an 8-person crew to the Stardust Casino for 76 days a year.  The crew averages 7 working hours on each eight hour shift.  The annual fee is $246,000 ($20,500 per month) which breaks down as follows:

Bulbs:	48,000 incandescent bulbs at $1.00 each			= 	$  48,000

2,800 fluorescent bulbs at $6.00				 = 	$  16,800

Labor: 	50,800 bulb changes at 5 minutes (average) per bulb = 4,234 hours

Paid hours = 76 days ( 8 hrs ( 8 persons = 4,864 hours ( $20/hr 	= 	$  97,280

Equipment rental (at $300 per crew day): = $300 ( 76 		= 	$  22,800

Subtotal	=	$184,880

Mark up to cover overhead and profit	$  61,120

TOTAL 	= 	$246,000

The Dulux bulbs exhibit much tighter variation in bulb life, versus incandescent, whether bulbs are frequently turned on and off or left burning.  FLS could go to “group relamping” at 90% of the 10,000 hour rated life of Dulux bulbs with very little chance of burned out bulbs.  This would mean that FLS would relamp the casino only once per year – 365 x 24 hours = 8,760 hours/year  / 9,000 hours per CFL bulb ~ 1 relamp per year.

Questions for the LMC test market job :

2)  What is the average annual saving to the Stardust Casino, over the fifteen year life of the	 retrofitted fixtures, of switching to CFL bulbs? Assume the retrofit contractor earns a 40% gross margin and GINA’s captive finance subsidiary will finance the retrofit with a 15-year installment loan at 12% interest.