Problem.

The wall of a refrigerator is constructed of fiberglass insulation sandwiched between two layers of sheet metal. The minimum thickness of insulation that needs to be used in the wall in order to avoid condensation on the outer surface to be determined.

Given that

Thermal conductivity for sheet metal = 15.5 W/m 0C

Thermal conductivity for fiberglass insulation = 0.035 W/m 0C

Take Room temperature = 250C

Surrounding Temperature = 20 0C

Temperature in refrigerator = 30C

Heat transfer coefficient h = 9 W/m2 0C