An Rl load as shown in figure below is controlled by a chopper. If load resistance R=0.25 ohms, inductance L=20 mH, supply voltage Vs=600V, battery voltage E=150V, and chopping frequency F=250 Hz, determine the peak-to-peak ripple current (delta I).

Answers

1) 28.8A

2) 17.91A

3) 8.98A