Info:

BOD: Biochemical Oxygen Demand

BOD5  is the total amount of oxygen consumed by microorganisms during the first five days of biodegradation

BOD5 = (DOi – Dof)/(P)    this is the five-day BOD of a diluted sample

Where DOi = the initial dissolved oxygen (DO) of the diluted wastewater

DOf = the final DO of the diluted wastewater, 5 days later

P      = the dilution fraction =   (volume of wastewater)/(volume of wastewater plus dilution water)

A standard BOD bottle holds 300 mL, so P is just the volume of wastewater divided by 300 mL

5.12)

Some wastewater has a BOD5  of 150 mg/L at 20 degrees Centigrade. The reaction rate k at that temperature has been determined to be 0.23/day.

- Find the ultimate carbonaceous BOD

- Find the reaction rate coefficient at 15 degrees Centigrade

- Find BOD5  at 15 degrees Centigrade